MAINT LOAD RESPONSIBILITY

| Ser | Nomenclature | No / Length | Remarks |
| --- | --- | --- | --- |
| 1. | Total Area of Complex | 360 Acre |  |
| 2. | Total Length of Road | 24.23 Km |  |
| 3. | Total Length of Foot Path | 13.5 Km |  |
| 4. | Total Length of Fence | 16,000 Rft |  |
| 5. | Total Length of Boundary Wall (Pre-fabricated + Jersey Barrier) | 8,000 Rft |  |
| 6. | Total Nos of Sub Stations (PNS Hafeez + ARC + NHQ) | 3 Nos |  |
| 7. | Total No of Street Lights / Flood Lights | 980 Nos |  |
| 8. | Length of HT Line/Cable | 38 Km |  |
| 9 | Length of LT line/Cable | 108 Km |  |
| 10 | Length of Water Supply line (Dia Wise & Material Wise) | 244 Km |  |
| 11 | No of Tube Wells | 14 (12 Ops) |  |
| 12 | OHWT | 03 Nos |  |
| 13 | UGWT | 42 Nos |  |
| 14 | Total Storage Capacity (Water) | 31.2 Lac Gln |  |
| 15 | No of Domestic U/G Water Tanks | 188 Nos |  |
| 16 | No of Domestic O/H Water Tanks | 511 Nos |  |
| 17 | No of Motor Pumps | 84 Nos |  |
| 18 | Water Filtration Plant | 4 Nos |  |
| 19. | Reedbeds | 4 Nos |  |
| 20. | Passenger Elevator | 15 Nos |  |
| 21. | Solar System | 13 Nos |  |
| 22. | No of DBs | 475 Nos |  |
| 23. | No of Feeder | 3 Nos |  |
| 24. | VCBs HT 11 KV | 8 Nos | (TS Rawat, PNS Hafeez, ARC & OM) |
| 25. | No of Lifts | 5 Nos |  |
| 26. | Length of GI Pipe | 9391 Mtr | 150 mm = 1756 Mt + 100 mm = 7635 Mtr |
| 27. | Length of AC Pipe | 11405 Mtr | 150 mm = 3673 Mt + 100 mm = 7732 Mtr |
| 28. | Length of PE Pipe (Dia Wise) | 4582 Mtr | 110 mm = 2043 Mt + 150 mm = 2539 Mtr |
| 29. | Length of Gas Supply Pipe Line | 8.298 Kms |  |
| 30. | Length of Sewerage Line | 21.169 Kms |  |
| 31. | Total No of Transformers (NRC + NHQ) | 109 Nos |  |
|  | Transformer 1250 KVA | 01 Nos | Make Qty Transpower = 88 PEL = 14 Siemens = 07 * No standby/trolley Transformer exist |
|  | Transformer 630 KVA | 01 Nos |  |
|  | Transformer 200 KVA | 73 Nos |  |
|  | Transformer 100 KVA | 20 Nos |  |
|  | Transformer 50 KVA | 01 Nos |  |
|  | Satellite Stations | 13 Nos |  |

MAINT LOAD RESPONSIBILITY

| Ser | Type of Building | No of Building | Ser | Type of Building | No of Building |
| --- | --- | --- | --- | --- | --- |
| 1 | Bungalow ‘A’ type | 2 Nos | 21 | NHQ Buildings | 9 Nos |
| 2 | Bungalow ‘B’ type | 34 Nos | 22 | HQ COMNOR Offices | 3 Nos |
| 3 | Bungalow ‘C’ type | 41 Nos | 23 | MES Offices | 10 Nos |
| 4 | Bungalow ‘D’ type | 86 Nos | 24 | PNS Zafar Offices / Barracks | 34 Nos |
| 5 | Bungalow ‘F’ type | 25 Nos | 25 | NI / CICT Det | 1 No |
| 6 | ‘C’ type Flats | 30 Nos | 26 | HQ NPU | 8 Nos |
| 7 | ‘D’ type Flats | 40 Nos | 27 | CNA / LAO Offices | 1 No |
| 8 | ‘E’ Type Flats | 08 Nos | 28 | PN Gym | 2 Nos |
| 9 | Accn at PNCM (Approx) | 1 No | 29 | Ameer Hamza / Ibrahim / Jamali Mosques | 3 Nos |
| 10 | MOQ Flats | 224 Nos | 30 | MES Single Men Barracks | 2 Nos |
| 11 | CPOs Qtrs | 138 Nos | 31 | PNS Hafeez Hospital | 7 Nos |
| 12 | POC Qtrs + Flats | 192 Nos | 32 | AFNS Mess | 2 Nos |
| 13 | MES Flats | 28 Nos | 33 | 1st FP Bt (Brk Off) | 6 Nos |
| 14 | A Type Qtrs | 228 Nos | 34 | Tower C-6 + C-7 | 72 Nos |
| 15 | B Type Qtrs | 300 Nos |  | G Total | 2,157 Nos |
| 16 | C Type Qtrs | 156 Nos |  |  |  |
| 17 | D Type Qtrs | 108 Nos |  |  |  |
| 18 | E Type Qtrs | 84 Nos |  |  |  |
| 19 | POS Qtrs | 216 Nos |  |  |  |
| 20 | POB Qtrs | 56 Nos |  |  |  |

MAINT LOAD RESPONSIBILITY

| Ser | Type of Building | Remarks |
| --- | --- | --- |
| 1 | CNS Hutt Muree |  |
| 2 | PNS Survival School Muree |  |
| 3 | Transmission Station (TS) Rawat |  |
| 4 | PNR & SC Rawalpindi |  |
| 5 | PNR & SC Peshawar |  |
| 6 | PNR & SC Swat |  |
| 7 | PNR / House Miandam |  |
| 8 | PNR & SC D I Khan |  |
| 9 | PNR & SC Abbottabad |  |
| 10 | PN ARC Gilgit |  |
| 11 | PNR & SC Muzafarabad |  |
| 12 | PNR & SC Kharian |  |
| 13 | PNR & SC Chitral |  |
| 14 | BOQs Kuldana |  |
| 15 | PNR / House Kalam |  |
| 16 | BOQ Lasdana AJK |  |

MAINT LOAD RESPONSIBILITY - E&M (NRC)

| Ser | Location | Remarks |
| --- | --- | --- |
| WATER FILTERATION PLANT |  |  |
| 1. | Filter Plant near Ameer Hamza Mosque | Cartridges are changed after every Month |
| 2. | Filter Plant at Zafar Colony | -do- |
| 3. | Filter Plant at CPO MR-III | -do- |
| 4. | Filter Plant at Officer MR-III | -do- |
| OVER HEAD WATER TANK |  | CAPACITY OF TANK |
| 1. | Over Head Water Tank No. 1 Ameer Hamza Mosque | 50,000 Galln |
| 2. | Over Head Water Tank No. 2 Opposite Ibrahim Masjid | 100,000 Galln |
| 3. | Over Head Water Tank No.3 MR-III Officer | 50,000 Galln |
| UNDERGROUND WATER TANK |  |  |
| 1. | Underground Water Tank No.1,2&3 (03 x Nos) | 100000 Gln |
| 2. | Underground Water Tank 02 x Nos (PNS Zafar + COMNOR) | 50000 Gln |
| 3. | Underground Water Tank 03 x Nos (ARC & PNS Hafeez) | 40000 gln |
| 4. | Underground Water Tank 02 x Nos (AFNS Mess + PO / CPO MR-III) | 30000 gln |
| 5. | Underground Water Tank 16 x Nos (MOQs & 1st FP Bn) | 20000 gln |
| 6. | Underground Water Tank 16 x Nos (PNCM, Navy House & Navy Guest House) | 10000 gln |

TUBE WELLS

| Ser | Tube Well No | Location | Remarks |
| --- | --- | --- | --- |
| 1. | Tube well No. 1 | Overhead Tanks No.2 in front Ibrahim Masjid | Operational |
| 2. | Tube well No.3 | Bahria University | Operational |
| 3. | Tube well No.4 | HQ COMNOR | Operational |
| 4. | Tube well No.5 | Overhead Tank No. 1 Ashraf Colony | Operational |
| 5. | Tube well No.7 | 1st FP | Operational |
| 6 | Tube well No.8 | Street 6 C Type Bunlows Zone-II | Operational |
| 7 | Tube well No.9 | MR-III Officer area | Operational |
| 8 | Tube well No.10 | Yellow Flats Ashraf Colony | Operational |
| 9 | Tube well No.11 | Overhead Tank No. 2 infront of Ibrahim Masjid | Operational |
| 10 | Tube well No.13 | Street 10 D Type Bunglows | Operational |
| 11 | Tube well No.14 | Street 4 Back of PNCM | Operational |